# Section 6: Schedule of Supply

Contents

1.	List of Goods and Related Services	6-2

2.	Delivery and Completion Schedule	6-5

3.	Technical Specifications	6-6

4.	Drawings	6-71

- List of (Equipment) Goods and Related Services

| Package No. G-12(a) |  |  |  |
| --- | --- | --- | --- |
| Package Name: G-12 Procurement of Lab Equipment RDTC-Zhemgang Food and Agro-processing |  |  |  |
| Item No. | Description | Unit | Qty |
| 1 | Fruit pulping machine | No. | 1 |
| 2 | Commercial Heavy duty mixer and grinder | No. | 1 |
| 3 | Steam Jacketed Kettle | No. | 1 |
| 4 | Modular cold room | No. | 1 |
| 5 | Freeze dryer/ lyophilizer | No. | 1 |
| 6 | Basket centrifuge | No. | 1 |
| 7 | Solar tunnel dryer | No. | 1 |
| 8 | Ginger peeling machine | No. | 1 |
| 9 | Potato peeler | No. | 1 |
| 10 | Potato slicer machine | No. | 1 |
| 11 | Commercial pressure cooker | No. | 3 |
| 12 | Steel rack for cold storage | No. | 15 |
| 13 | Stainless steel processing table | No. | 15 |
| 14 | Kitchen Exhaust hood | No. | 2 |
| 15 | Open chiller for fruit and vegetable | No. | 1 |
| 16 | Electric steam boiler machine | No. | 2 |
| 17 | Three range Burner | No. | 2 |
| 18 | Wine fermenting glass jar | No. | 4 |
| 19 | Deep Freezer | No. | 2 |
| 20 | Sausage filling machine | No. | 1 |
| 21 | Meat mincer | No. | 1 |
| 22 | Meat bowl silent cutter | No. | 1 |
| 23 | Electric Meat smoker | No. | 1 |
| 24 | Shawarma machine | No. | 2 |
| 25 | Batch Milk pasteurizer | No. | 1 |
| 26 | Milk homogenizer | No. | 1 |
| 27 | Cheese vat | No. | 1 |
| 28 | Yogurt incubator | No. | 1 |
| 29 | Paneer pneumatic press | No. | 1 |
| 30 | Cheese manual Press | No. | 2 |
| 31 | Mini oil expeller | No. | 1 |
| 32 | Coffee bean huller/ peeling machine | No. | 1 |
| 33 | Coffee bean roaster | No. | 1 |
| 34 | Vertical type Auto-clave | No. | 2 |
| 35 | Moisture meter | No. | 1 |
| 36 | Water activity meter | No. | 1 |
| 37 | Laminar air flow cabinet | No. | 1 |
| 38 | Muffle furnace | No. | 1 |
| 39 | Laboratory incubator | No. | 1 |
| 40 | Crude Fibre analyzer | No. | 1 |
| 41 | Juice extractor machine | No. | 1 |
| 42 | Yogurt sealing machine | No. | 2 |
| 43 | Continuous Band Sealer with Nitrogen flushing system | No. | 1 |
| 44 | Nitrogen gas cylinder | No. | 3 |
| 45 | Pressure canner | No. | 3 |
| 46 | Vertical form fill sealer machine for liquids/powders | No. | 1 |
| 47 | Foot model crown corking machine | No. | 1 |
| 48 | Bottle Cap sealer | No. | 2 |
| 49 | Manual Tray Sealer | No. | 1 |
| 50 | Manual Bubble Tea Cup Sealer | No. | 1 |
| 51 | Mini Cereal roasting machine | No. | 1 |
| 52 | Extruder machine | No. | 1 |
| 53 | Popcorn making machine | No. | 1 |
| 54 | Millet dehuller cum polishing machine | No. | 1 |
| 55 | Bakery Display Counter | No. | 1 |
| 56 | Mini countertop Pastry display chiller | No. | 2 |
| 57 | Sandwich Grill | No. | 2 |
| 58 | Proofer | No. | 1 |
| 59 | Waffle maker | No. | 2 |
| 60 | Ice cream batch freezer machine | No. | 1 |
| 61 | Three tank electric cooling juice dispenser | No. | 1 |
| 62 | Parabolic solar cooker | No. | 1 |
| 63 | Brewing distillation still | No. | 1 |
| 64 | Carbonator (soda maker) | No. | 1 |

- Delivery and Completion Schedule

The delivery period shall start as of the date of supply order (Equipment).

| Item No. | Description | Location | Required Arrival Date of Goods or Completion Date for Related Services |
| --- | --- | --- | --- |
| 1 | Fruit pulping machine | RDTC, Zhemgang | The goods should be delivered to RDTC-Zhemgang within 60 days from the date of supply order. |
| 2 | Commercial Heavy duty mixer and grinder |  |  |
| 3 | Steam Jacketed Kettle |  |  |
| 4 | Modular cold room |  |  |
| 5 | Freeze dryer/ lyophilizer |  |  |
| 6 | Basket centrifuge |  |  |
| 7 | Solar tunnel dryer |  |  |
| 8 | Ginger peeling machine |  |  |
| 9 | Potato peeler |  |  |
| 10 | Potato slicer machine |  |  |
| 11 | Commercial pressure cooker |  |  |
| 12 | Steel rack for cold storage |  |  |
| 13 | Stainless steel processing table |  |  |
| 14 | Kitchen Exhaust hood |  |  |
| 15 | Open chiller for fruit and vegetable |  |  |
| 16 | Electric steam boiler machine |  |  |
| 17 | Three range Burner |  |  |
| 18 | Wine fermenting glass jar |  |  |
| 19 | Deep Freezer |  |  |
| 20 | Sausage filling machine |  |  |
| 21 | Meat mincer |  |  |
| 22 | Meat bowl silent cutter |  |  |
| 23 | Electric Meat smoker |  |  |
| 24 | Shawarma machine |  |  |
| 25 | Batch Milk pasteurizer |  |  |
| 26 | Milk homogenizer |  |  |
| 27 | Cheese vat |  |  |
| 28 | Yogurt incubator |  |  |
| 29 | Paneer pneumatic press |  |  |
| 30 | Cheese manual Press |  |  |
| 31 | Mini oil expeller |  |  |
| 32 | Coffee bean huller/ peeling machine |  |  |
| 33 | Coffee bean roaster |  |  |
| 34 | Vertical type Auto-clave |  |  |
| 35 | Moisture meter |  |  |
| 36 | Water activity meter |  |  |
| 37 | Laminar air flow cabinet |  |  |
| 38 | Muffle furnace |  |  |
| 39 | Laboratory incubator |  |  |
| 40 | Crude Fibre analyzer |  |  |
| 41 | Juice extractor machine |  |  |
| 42 | Yogurt sealing machine |  |  |
| 43 | Continuous Band Sealer with Nitrogen flushing system |  |  |
| 44 | Nitrogen gas cylinder |  |  |
| 45 | Pressure canner |  |  |
| 46 | Vertical form fill sealer machine for liquids/powders |  |  |
| 47 | Foot model crown corking machine |  |  |
| 48 | Bottle Cap sealer |  |  |
| 49 | Manual Tray Sealer |  |  |
| 50 | Manual Bubble Tea Cup Sealer |  |  |
| 51 | Mini Cereal roasting machine |  |  |
| 52 | Extruder machine |  |  |
| 53 | Popcorn making machine |  |  |
| 54 | Millet dehuller cum polishing machine |  |  |
| 55 | Bakery Display Counter |  |  |
| 56 | Mini countertop Pastry display chiller |  |  |
| 57 | Sandwich Grill |  |  |
| 58 | Proofer |  |  |
| 59 | Waffle maker |  |  |
| 60 | Ice cream batch freezer machine |  |  |
| 61 | Three tank electric cooling juice dispenser |  |  |
| 62 | Parabolic solar cooker |  |  |
| 63 | Brewing distillation still |  |  |
| 64 | Carbonator (soda maker) |  |  |

- Technical Specifications for Equipment

- Fruit Pulping machine

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Single phase Semi-automatic Capacity: 50-100 kg/hr Food-grade Stainless Steel Motor power: 1-1.5 HP Suitable for Citrus and other fruits |  |  |

- Commercial Heavy duty mixer and grinder

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Material: Stainless Steel Use: Commercial, wet & dry Capacity: 10 litres Motor: 2 HP 220 volts, 50 Hz |  |  |

- Steam jacketed kettle

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Capacity: Approx. 500 litres Material: Stainless Steel inner and outer shell Single phase |  |  |

- Modular cold room

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |

| Specification | Precise digital temperature controllers. Temperature range: -18°C to +10°C High-density polyurethane (PU) insulation panels. Capacity: 1-2 tons. Power Supply: Single phase. Dimension:8ftx8ftx8ft |  |  |
| --- | --- | --- | --- |

- Freeze dryer/ Lyophilizer

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |

|  | Drying capacity: 5-10 kg No. of trays: 5 Voltage: 220 V Minimum cold trap temperature: -40 degrees |  |  |
| --- | --- | --- | --- |

- Basket centrifuge

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |

| Specification | Capacity: 50kg/ batch Material: Stainless steel Voltage: single phase |  |  |
| --- | --- | --- | --- |

- Solar tunnel dryer

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |

| Specification | Pipes: GI Square pipe Size:500sqft Covering : 200 micron 5 layer Polysheet Aluminium trays : L2.5ft*W1.25ft*1.5mm thick Exhaust Fan included Heater 2000W Control Panel & sensor with auto cutoff included Solar panel with Installation Purpose: solar drying of fruits, vegetables and herbs |  |  |
| --- | --- | --- | --- |

- Ginger peeling machine

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Capacity: Approx.50 kg/hr Single phase Material: Stainless steel |  |  |

- Potato Peeler

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Capacity: 10-20 kg Semi-Automatic Single phase |  |  |

- Potato slicer machine

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Capacity: minimum 50kg/hr Semi-Automatic Single phase Stainless steel Purpose: Potato chips |  |  |

- Commercial pressure cooker

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Capacity: 40-60 Litre Material: Aluminium |  |  |

- Steel rack for cold storage

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Load Per Layer : approx 50 Kg Surface Finish: Polished Material: Stainless Steel Size: 40 x 20 x 70 Cm |  |  |

- Stainless steel processing table

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Size: approx. 60X24X34 inch Material: Stainless Steel (Food grade) Surface Finish: Polished 2 shelves |  |  |

- Kitchen exhaust hood

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Design: hood Airflow Capacity:1500 m3/h Type: Wall mount Material: stainless steel Power supply: Single Phase |  |  |

- Open chiller for fruit and vegetable

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Height :7 feet Length: 4 feet No of shelves: 4 or 5 Single phase |  |  |

- Electric steam boiler machine

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Steam capacity: 35 kg/H, Rated working pressure: 0.7 Mpa, Electric supply: 400V/50 Hz, Saturated Steam temp: 170 degree C With spare heating tube and other necessary accessories |  |  |

- Three Range Burner

| Description |  | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- | --- |
| Make |  |  |  |  |
| Model |  |  |  |  |
| Country of Origin |  |  |  |  |
| Specification | Shape: Rectangular Material: Stainless steel No. of Burners: 3 Size: 40x20x12 Inch |  |  |  |

- Wine fermenting Glass jar

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Material: Glass and Silicone Capacity: 15-20 L Air-lock stopper system |  |  |

- Deep Freezer

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Capacity: 150-200 Litres Door type: Sliding door Power: 290w Door Glass type: Flat glass |  |  |

- Sausage filling machine

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Automation Grade: Automatic Filling System: Vacuum Type: Vertical Capacity: 7 L Material: Stainless Steel |  |  |

- Meat Mincer

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Capacity:10-20 kg/hr. Material: stainless steel Single phase |  |  |

- Silent bowl cutter

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Bowl Capacity: 20 kg Material: Stainless steel Revolution: 1440 rpm Power Supply: single phase Purpose: to chop, mince and mix all types of vegetables, fruits and meats |  |  |

- Electric Meat smoker

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Power: 1.0 KW Voltage: 220V50HZ Size: Approx. 550 x 400 x 870 mm Material: Full S/S Body Temperature Range: 30-135 ‘C |  |  |

- Shawarma machine

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Material: Stainless Steel Power Source: Gas Rotation: Electric power rotation Number Of Burners: 2 Type: Table top Dimensions: Approx. 21 x 25 x 41 inches Purpose: to prepare shawarma snacks |  |  |

- Batch milk pasteurizer

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Material: Stainless Steel Single Phase Capacity: 100-150 Liters Semi-automatic Temperature Range: approx. 36 to 90 °C (adjustable, with thermostat) Insulation: Double-walled with thermal insulation Mixing: Agitator motor |  |  |

- Milk homogenizer

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Capacity:100-200 L Material:Stainless Steel Phase:Single Voltage:430v Purpose:To Achieve A Uniform Consistency And Texture In Milk And Dairy Products. |  |  |

- Cheese Vat

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Vat diameter: Approx. 490 mm Vat height: Approx. 450mm Height with support: 900 mm Electric power: 6 KW Water connection: ½ inches Stainless steel |  |  |

- Yoghurt incubator

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Incubator inner body made of stainless steel and outer body made of mild steel. High quality Insulation, Digital Controller and Digital Temperature Display Equipped with standard Air Blower for uniform heat transfer. Suitable for Plastic, Glass and Clay Cups Chamber Volume:250 Litre |  |  |

- Paneer pneumatic press

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Material : Stainless steel Pneumatic press machine Single phase |  | - |

- Cheese manual press

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make/ Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Capacity:10 kg per batch Stainless steel Manual |  |  |

- Mini Oil expeller

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Single phase Construction: stainless steel Capacity: 25-50 kg/hr. Semi-automatic Suitable for mustard and other oil seeds |  |  |

- Coffee bean huller/peeling machine

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Capacity: 1-15 kg/hr semi-automatic Material: stainless steel Single phase |  |  |

- Coffee bean roaster

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Power :1/2 hp Heating unit : 2 kw Phase : Single phase Capacity : 10 kgs/hr |  |  |

- Vertical Type Auto-clave

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Chamber Volume: 50 liter Sterilization Temperature Range :110.0 deg C to 125.0 deg C Material: Stainless Steel Power Supply: single phase Purpose: to sterilize laboratory glasswares and forceps. |  |  |

- Infrared moisture analyzer

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Power supply: AC / 220 - 240V AC External Dimensions & Weight 222 (W) x 360 (D) x 196 (H) mm Material: Mild steel LCD display |  |  |

- Water activity meter

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Water activity range: 0.05 to 1.000 aw Sample dish capacity: 7 ml recommended (15 ml full) Measurement time: Less than 5 minutes Display: 20 x 2 alphanumeric display with backlighting Case material: Powder painted aluminum Operating environment: 4 to 50 °C |  |  |

- Laminar air flow cabinet

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Material: Stainless steel Pressure gauge: 10 bar Dimension: 1000x600x600 mm Washable pre-filter HEPA filter with efficiency of 99.9 % at 0.3 ߎm Blower systems that gives airflow velocity of 0.3-0.5m/s UV germicidal lamp Fluorescent or LED lamp Height adjustable Operated at single phase Manometers or equivalent or superior technology |  |  |

- Muffle furnace

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Maximum temperature: 1000-1500 Degree Celsius Material: mild steel Voltage: 220V Purpose: measure ash content of food samples |  |  |

- Laboratory incubator

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Capacity: 30 L Temperature Range: 4-60 deg C Frequency: 50/60Hz Power Supply:AC 220V Humidity: 40-98% Mild steel |  |  |

- Crude Fiber Analyzer

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Measurement range: 0.1%-100% Sample weight: 0.5g-3g Capacity: 6 pcs/batch Display: touch color screen Rated power: 2.2KW Power supply :Single phase Dimension: Approx. 776mm×476mm×644mm |  |  |

- Juice extractor machine

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Capacity: 0.5 T/H Power: 1.5+0.55KW Size: 900*320*1100MM Sieve: 2mm, 1mm with accessories. |  |  |

- Yoghurt sealing machine

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Capacity: 2000 Piece/Hr Digital Temperature Controller Suitable to Pack: PP GLASS, HIPS, LD, BOPP Machine Type: Semi-Automatic Diameter: 80 mm Type: Pneumatic Body Material – Stainless Steel |  |  |

- Continuous Band Sealer with Nitrogen flushing system

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |

| Country of Origin |  |  |  |
| --- | --- | --- | --- |
| Specification | Semi‑Automatic Operational Mode: Horizontal pouch sealing Packaging Type: Pouch Voltage/Power: Rated for 240 V Max Conveyor Load: Supports up to 5 kg pouch batches Cylinder Type requirement: Standard nitrogen cylinder |  |  |

- Nitrogen Gas cylinder

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Working Pressure: 150 bar Material:Mild steel Capacity: 15-20 L Opening and closing valve |  |  |

- Pressure canner

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Capacity: 20-25 litres Height: 16 inches Width in diameter: 20 inches (Including handles) Material: Aluminium With pressure gauge |  |  |

- Vertical form fill sealer machine for liquids/powder

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Packing Material: FFS Pouch packing Sealing Type: Centre Seal, Three Side Packing Speed: 10 – 30 Pouches/minute of the product) Power: Single Phase Contact Parts: Stainless Steel Non-contact parts: Mid steel (MS) |  |  |

- Foot Model Crown Corking Machine

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Capacity :250-300 bottles per/h Material: Mild steel Capping type: glass bottles |  |  |

- Bottle cap sealer

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Semi-Automatic Driven Type: Electric Capacity: 500-1000 Bottles Per Hour Material: Polypropylene Cap Diameter: 25mm-38mm Voltage: single phase |  |  |

- Manual Tray Sealer

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Single phase Manual Power: 500 Container Size:142x190 mm Sealing Speed: 16-20 Packaging Material: PPE Construction: stainless steel |  |  |

- Manual Bubble Tea Cup Sealer

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Capacity: 300-500 pouch per hour Power supply: 110V Cup sealing height: 18 cm and below |  |  |

- Mini Cereal roasting machine

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Capacity: 25 kg-50kg Usage/Application: semi-commercial Machine Type: Semi-Automatic Fuel: LPG |  |  |

- Extruder machine

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Production Capacity: 100 kg/hr Automatic Grade: semi-Automatic Voltage (V):220 Single phase Material: Stainless steel Purpose: Kurkure type corn puffed snacks |  |  |

- Popcorn making machine

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Semi-Automatic Material: glass Single phase Dimension: Approx. 560* 420* 760 mm |  |  |

- Millet dehuller cum polisher machine

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Single phase Semi-Automatic Capacity: 100-200 kg/hr Voltage: 220 v Material: Cast iron Purpose: Removing the husk of Millets |  |  |

- Bakery Display counter

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Counter shape: Curved Single phase With refrigeration Stainless steel Height: Four feet 4 shelves |  |  |

- Mini countertop pastry display chiller

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Number of doors: single Sliding door Temperature control: smart thermostat, auto defrost. Temperature range: 2-10 degree Celsius Single phase Adjustable shelves Capacity: 100-200 L Dimensions: Approx. 900*550*700 mm |  |  |

- Sandwich Grill

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Wattage: 1.8 kW Material: Stainless steel Size: 370×305×190mm Usage: commercial |  |  |

- Proofer

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Storage capacity: Approx. 15 Trays Operation mode: Automatic Power source: Electric Machine body material: Stainless steel Purpose: Proofing of bakery products |  |  |

- Waffle Maker

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Voltage: 220V Material: Stainless Steel Usage/Application: Commercial Size: Approx.310 x 380 x 285 Power: 2 kw |  |  |

- Ice cream batch freezer machine

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Single phase Freezing/Cooling cylinder: 15-20 L Cylinder position: Horizontal Capacity: 15-20 L/hr |  |  |

- Three Tank electric Cooling juice Dispenser

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Number Of Flavors: 3 Material: plastic and steel Machine Type: Automatic Power: single phase Feature: with Agitating and bubbling function |  |  |

- Parabolic solar cooker

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Capacity:1.5 Sq mtr Shape: Parabolic Material: Stainless Steel Power Source: Solar Usage/Application Cooking, Frying, Roasting |  |  |

- Brewing distillation still

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Capacity: 20 L Boiler barrel: Approx.30 x 30 cm Condenser: Approx. 20 x 11 cm All parts are made of food-grade materials, including silicone, stainless steel, and copper Open Copper coil rapid cooling system Durable and tight Seal with four buckles and silicone gaskets Purpose: for brewing wine |  |  |

- Carbonator (Soda maker)

| Description | Minimum Requirement | Bidder’s Response Complied (Yes/No) | If “No” Bidders Comments |
| --- | --- | --- | --- |
| Make |  |  |  |
| Model |  |  |  |
| Country of Origin |  |  |  |
| Specification | Power Consumption:1 HP Machine Type: semi-Automatic With two carbon dioxide filling cylinder Material: Stainless Steel Phase: Single Phase Purpose: to prepare soda water and other fizzy drinks and beverages. |  |  |

Note:

  - The photos of the items are provided just for clarity purpose and no particular brand or model is preferred.

  - The bidders are requested to submit the brochures/catalogues containing technical specifications and model numbers of the items. Any item without catalogues with the technical specification and model number of the item would form enough basis for rejection of the item.

- Drawings